## Sheet1
Command | Prameter? | switches to ManualMode | switches to AutoMode | ReturnsValue | Description
B |  |  |  |  | Connect App
fc |  |  |  | calibFile | send calibration file
f1 |  |  |  |  | transfers the current raw file QE
f2 |  |  |  |  | transfers the current raw file FLAME
A |  |  | yes | Measurements | go back to automatic mode
O |  |  |  |  | Optimise
M |  |  |  | Measurement | measure without Optimisation
m |  |  |  | Measurement | measure with Optimisation
I x | ms |  |  |  | set integration time to x ms(eg. I 500)
IM x | ms |  |  | yes | set maximum integration time to x ms (eg. IM 1000
i x | ms |  |  |  | set the interval between measurements to x s (eg. i 60)
iL x | x = cycles |  |  |  | sets the cycles between FLED to x cycles, 0=off
S x | x = resolutionBytes |  |  |  | sets the resolution of sent bytes to x
a1 x | yes |  |  |  | set the QE averages to x (eg. a1 3)
a2 x | yes |  |  |  | set the FLAME averages to x (eg. a2 3)
G |  |  |  | yes | Show GPS position
c |  |  |  | yes | ReadIn config.txt
T |  |  |  |  | to set date+time
ss |  |  |  |  | toggle serial stream
st |  |  |  |  | toggle serial data transfer
FLAME |  |  |  |  | toggle FLAME spectrometer
C |  | yes |  | yes | get CommandList